Appendix A

Derivation of the thermo-economic model

The mathematical procedure underlying the equation Eq. 1, on which is based the thermo-economic model presented in section 2.1, is illustrated in the present Appendix.

To fix ideas, let CH,1m2, CS,1m2, Cop,1m2, ns, d, Ec, and K$ respectively designate the following quantities.

CH,1m2+CS,1m2: Unit cost per square meter. Amount of money released by the source of the capital for purchasing, installing, and starting up a solar converter power plant accounted for per square meter of its collecting area. In particular, CH,1m2 includes the subsystem costs for modules, inverters, Energy Storage System (ESS), structural and electrical BOS, while the fieldwork, office-work and other soft costs are incorporated in the soft cost term CS,1m2. The value is expressed in $/m2.

Cop,1m2: Yearly operating and maintenance cost, accounted for square meter of PV collecting surface. The value is expressed in $/(m2y);

ns pay-back time of the whole system composed by collecting converting-surfaces and auxiliary elements as inverter and electrical adapter device. Its value is expressed in number of years, y;

d: Yearly discount rate of investment.

Ec: yearly average amount of useful energy production, supplied by the unit of a solar collecting surface, GJ/(m2y).

K$: maximum admissible monetary remuneration value derived by selling the energy production generated by the solar system. This value should be consistent with the economic growth of a community since it should agree with the affordability range of energy expenditures identified as sustainable at a global level. Its value is expressed in $/GJ

K$∙Ec  represents the maximum admissible income value that can be achieved from the sale of energy goods, produced on a year-round basis, by a square meter of a solar PV collecting area, when it is sold at a unit price in line with the upper limit value K$.

A global economic analysis for conventional solar PV technology system can be mathematically interpreted by equation (1A).

|  | CH,1m2+CS,1m2ns∙j=1ns1+dj≤K$∙Ec-Cop,1m2 ∙ns | (1A) |
| --- | --- | --- |

It states the conditions for which a square meter of a solar conversion system can be manufactured, installed, operated, and maintained, producing an amount of energy that generates a profit greater than zero when it is sold at a price K$. With such a value, economies stay broadly within the range of energy-expenditures identified as globally sustainable.

The inequality Eq. 1A can be reduced as a constraint expression on the Ec value, Eq. 2A:

|  | Ec≥1K$CH,1m2+CS,1m2ns2j=1ns1+dj+Cop,1m2 | (2A) |
| --- | --- | --- |

where the right-hand term takes on the meaning of a minimal yearly amount of energy good that, each square meter of a solar energy converting surface, should supply for satisfying the economic constraints applied on the source of the capital and on the global productive system.

The quantity Ec can be seen as a function of an energy conversion efficiency coefficient ηlim,ec multiplied by the value φs, representing the yearly available amount of the total radiant exposure, per square meter of collectable surface, expressed in GJ/(m2y):

|  | Ec=φs∙ηlim,ec | (3A) |
| --- | --- | --- |

The parameter ηmin,ec dimensionally represents an energy production average rate and takes on the meaning of a lower limit efficiency rate whose value turns out to be ruled by the principle of the economic sense.

The operating cost Cop,1m2 of the system converter is driven by the monetary remuneration derived by selling energy production. Therefore, Cop,1m2 may be expressed proportionally to a fraction α of the product K$,max∙E, according to the following Eq. (4A):

|  | Cop,1m2=α∙K$∙Ec=α∙K$∙31.54103⋅ψs∙ηlim,ec | (4A) |
| --- | --- | --- |

Once Ec, Cop,1m2 terms of Eq. (2A) are replaced respectively by equations Eq. (3A) and (4A), Eq. (2A), by solving for ηlim,ec, reduces to Eq. (5A):

|  | ηlim,ec≥j=1ns1+djns2∙10331.53∙CH,1m2+CS,1m2K$∙ψs1-α | (5A) |
| --- | --- | --- |

Eq. (5A) determines the lower limit of the average efficiency rate for which the conditions of economic sustainability are satisfied over the adopted time span.

An interesting step forward can be taken by observing that the CH,1m2 and CS,1m2 quantities, defined as costs per square meter, can be correlated to the costs per peak of power unit through the conversion efficiency coefficient with which a specific power plant is experimentally featured and is also commercially rated:

|  | CH,1m2=ηexp∙ϕstc ∙CH,1W, | (6A) |
| --- | --- | --- |

|  | CS,1m2=ηexp∙ϕstc ∙CS,1W, | (7A) |
| --- | --- | --- |

where CH,1Wp and CS,1Wp respectively represent the hardware and the soft costs, numerically expressed per peak unit of output power, $/Wp.

Once the summation CH,1m2+CS,1m2 term, given in Eq. (5A), is replaced by using Eqs. (6A) and (7A) and the efficiency ηexp term is moved on the left hand, the equation Eq. (5A) reduces to Eq. (8A),

|  | ηlim,ecηexp=ηn≥j=1ns1+djns2∙CH,1W+CS,1W∙ϕstcK$∙φs1-α. | (8A) |
| --- | --- | --- |

Such equation exactly corresponds to Eq. 1 given in section 2.1 of the main manuscript.