Appendix B

Measurements of solar radiation and electrical power output from conventional and augmented PV units

This section presents selected experimental results comparing the performance of augmented and reference PV systems. Electrical power generation was measured for both systems under five different reflector-to-collector area ratios during a measurement campaign conducted in 2023. The results are illustrated in Figures B1a to B20a, with each figure corresponding to a specific reflector size. In each graph, the cyan curve represents the power output of the augmented PV panel, which consistently shows a larger area under the curve, indicating a higher total energy yield. In contrast, the grey curve refers to the reference PV panel operating without any reflector. As expected, both curves follow a bell-shaped profile, mirroring the typical diurnal variation of solar irradiance. Across all the figures (B1a–B20a), the data clearly demonstrate that increasing the optical collection area using flat specular reflectors leads to a significant enhancement in electrical output, proportional to the reflector-to-collector area ratio. For completeness, Figures B1b to B20b report the corresponding measurements of global solar irradiance, including its beam and diffuse components, as recorded during the same periods. These provide essential context for interpreting the performance improvements observed in the augmented PV systems.

Figure B1. in a) Experimental data of daily time evolution of electricity production with and without booster reflector. Aspect ratio ar,c=1 and EF=20.2% In b), Experimental data of daily time evolution of solar radiation component on the horizontal plane, measured throughout march 16, 2023

Figure B2. in a) Experimental data of daily time evolution of electricity production with and without booster reflector. Aspect ratio ar,c=1 and EF=19.8% In b), Experimental data of daily time evolution of solar radiation component on the horizontal plane, measured throughout march 23, 2023

Figure B3. in a) Experimental data of daily time evolution of electricity production with and without booster reflector. Aspect ratio ar,c=1.6 and EF=23.2% In b), Experimental data of daily time evolution of solar radiation component on the horizontal plane, measured throughout march 25, 2023

Figure B4. in a) Experimental data of daily time evolution of electricity production with and without booster reflector. Aspect ratio ar,c=1.2 and EF=22.2% In b), Experimental data of daily time evolution of solar radiation component on the horizontal plane, measured throughout march 26, 2023

Figure B5. in a) Experimental data of daily time evolution of electricity production with and without booster reflector. Aspect ratio ar,c=2.5 and EF=28% In b), Experimental data of daily time evolution of solar radiation component on the horizontal plane, measured throughout march 29, 2023.

Figure B6. in a) Experimental data of daily time evolution of electricity production with and without booster reflector. Aspect ratio ar,c=2.5. and EF=27.2% In b), Experimental data of daily time evolution of solar radiation component on the horizontal plane, measured throughout april 10, 2023

Figure B7. in a) Experimental data of daily time evolution of electricity production with and without booster reflector. Aspect ratio ar,c=1.6 and EF=24.4% In b), Experimental data of daily time evolution of solar radiation component on the horizontal plane, measured throughout april 12, 2023

Figure B8. in a) Experimental data of daily time evolution of electricity production with and without booster reflector. Aspect ratio ar,c=2.5 and EF=28.7% In b), Experimental data of daily time evolution of solar radiation component on the horizontal plane, measured throughout april 17, 2023

Figure B9. in a) Experimental data of daily time evolution of electricity production with and without booster reflector. Aspect ratio ar,c=1.8 and EF=26.5% In b), Experimental data of daily time evolution of solar radiation component on the horizontal plane, measured throughout april 18, 2023

Figure B10. in a) Experimental data of daily time evolution of electricity production with and without booster reflector. Aspect ratio ar,c=1.8 and EF=26.5% In b), Experimental data of daily time evolution of solar radiation component on the horizontal plane, measured throughout april 21, 2023

Figure B11. in a) Experimental data of daily time evolution of electricity production with and without booster reflector. Aspect ratio ar,c=2 and EF=27.3% In b), Experimental data of daily time evolution of solar radiation component on the horizontal plane, measured throughout april 22, 2023

Figure B12. in a) Experimental data of daily time evolution of electricity production with and without booster reflector. Aspect ratio ar,c=1.6 and EF=22.8% In b), Experimental data of daily time evolution of solar radiation component on the horizontal plane, measured throughout may 11, 2023

Figure B13. in a) Experimental data of daily time evolution of electricity production with and without booster reflector. Aspect ratio ar,c=1.6 and EF=24% In b), Experimental data of daily time evolution of solar radiation component on the horizontal plane, measured throughout may 27, 2023

Figure B14. in a) Experimental data of daily time evolution of electricity production with and without booster reflector. Aspect ratio ar,c=0.7 and EF=14% In b), Experimental data of daily time evolution of solar radiation component on the horizontal plane, measured throughout june 21, 2023

Figure B15. in a) Experimental data of daily time evolution of electricity production with and without booster reflector. Aspect ratio ar,c=1.6 and EF=24.5% In b), Experimental data of daily time evolution of solar radiation component on the horizontal plane, measured throughout june 25, 2023

Figure B16. in a) Experimental data of daily time evolution of electricity production with and without booster reflector. Aspect ratio ar,c=1.6 and EF=25% In b), Experimental data of daily time evolution of solar radiation component on the horizontal plane, measured throughout june 26, 2023

Figure B17. in a) Experimental data of daily time evolution of electricity production with and without booster reflector. Aspect ratio ar,c=0.7 and EF=14% In b), Experimental data of daily time evolution of solar radiation component on the horizontal plane, measured throughout june 27, 2023

Figure B18. in a) Experimental data of daily time evolution of electricity production with and without booster reflector. Aspect ratio ar,c=0.7 and EF=13% In b), Experimental data of daily time evolution of solar radiation component on the horizontal plane, measured throughout june 28, 2023

Figure B19. in a) Experimental data of daily time evolution of electricity production with and without booster reflector. Aspect ratio ar,c=1.6 and EF=23% In b), Experimental data of daily time evolution of solar radiation component on the horizontal plane, measured throughout july 02, 2023

Figure B20. in a) Experimental data of daily time evolution of electricity production with and without booster reflector. Aspect ratio ar,c=3 and EF=29% In b), Experimental data of daily time evolution of solar radiation component on the horizontal plane, measured throughout july 14, 2023